|  |  |
| --- | --- |
|  | **Client: Tasman Health Care**  **Date of Service: December 2017** |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Asset Number | Serial Number | Model | Manufacturer | Location |
| 003256 | PC11184301 | ISOCLEAN | Esco | Tasman Healthcare Pharmacy |
| 003324 | 003324 | MILK FROTHER | NESPRESSI | KITCHEN |
| 003325 | 003325 | K FEE 17 | EXPRESSI | KITCHEN |
| NVB0007624 | 400003909 | 9002TIG01 Alaris GP | Carefusion | Infusion Area |
| NVB0007625 | 400003845 | 9002TIG01 | Carefusion | Infusion Area |
| NVB0007626 | 400004015 | 9002TIG01 | Carefusion | Infusion Area |
| NVB0007627 | SH614294919SA | 2038172-001-312275 | GE Healthcare | Infusion Area |
| NVB0007628 | 688T12158438 | Infusion Chair | Fresenius | Infusion Area |
| NVB0007629 | 688T12158439 | Infusion Chair | Fresenius | Infusion Area |
| NVB0007630 | A7502215H9 | Accutorr V | Mindray | Infusion Area |
| NVB0007631 | T688 DEMO 004 | T688 | FRESENIUS | TREATMENT ROOM |
| NVB0007632 | 688T04171365 | T688 | FRESENIUS | TREAMENT ROOM |
| NVB0007633 | 688T04171364 | T688 | FRESENIUS | TREATMENT ROOM |
| NVB0007634 | 400000713 | GP | CAREFUSION | TREATMENT ROOM |
| NVB0007635 | 5307308572 | INFINITY GAMMA XL | DRAGER | TREATMENT ROOM |
| NVB0007636 | SCO6433 | NA | PAXMAN | ROOM 2 |
| NVB0007637 | 400000617 | GP | CAREFUSION | ROOM 2 |
| NVB0007638 | NVB0007638 | Freezer | New Brunswick | Office |
| NVB0007709 | HA130411690 | Skope | Vaccine Fridge | PHARMACY |
| NVB0007710 | 61366 | Medika 700 | Fiocchetti | Pharmacy |
| NVB0008043 | 22 | ELI 250 ECG Machine | Mortara | Tasman Health Care |
| NVB0008045 | 22 | ELI 250 | Mortara | Infusion Area |
| NVB0008048 | 400000664 | 9002TIG01 Alaris GP | Carefusion | Infusion Area |
| NVB0008049 | 135304195 | 9002MED01 | Carefusion Pump | Infusion Area |
| NVB0008050 | X15G771695 | AED Plus | ZOLL | Resus Trolley |
| NVB0008051 | 5514914765 | Infinity Gamma | Drager | Infusion Area |
| NVB0008052 | 135304207 | Alaris GP | Carefusion | Infusion Area |
| NVB0008053 | 135304192 | 9002MED01 | Carefusion | Infusion Area |
| NVB0008054 | NVB0008054 | ADULT SCALES | SECA | INFUSION AREA |
| NVB0008055 | NVB0008055 | MEDICAL GAS PANEL | MEDICAL GAS PANEL | NFUSION AREA |
| NVB0008056 | NVB0008056 | MEDICAL GAS PANEL | MEDICAL GAS PANEL | INFUSION AREA |
| NVB0008057 | NVB0008057 | MEDICAL GAS PANEL | MEDICAL GAS PANEL | INFUSION AREA |
| NVB0008061 | NVB0008061 | MEDICAL GAS PANEL | MEDICAL GAS PANEL | INFUSION AREA |
| NVB0008064 | 150618869 | 0124 | Riester | Resus Trolley |
| NVB0010395 | 0371068 | THERMOMETER | EXERGEN | INFUSION AREA |
| NVB0010396 | 0438257 | THERMOMETER | EXERGEN | INFUSION AREA |
| NVB0010398 | NVB0010398 | OXYGEN FLOWMETER | COMWELD | INFUSION AREA |
| NVB0010400 | NVB0010400 | OXYGEN FLOWMETER | COMWELD | INFUSION AREA |
| NVB0010401 | NVB0010401 | SUCTION ADAPTOR | COMWELD | INFUSION AREA |
| NVB0010402 | NVB0010402 | OXYGEN FLOWMETER | COMWELD | INFUSION AREA |
| NVB0010403 | NVB0010403 | Nurse System | Sedco | Infusion Area |
| NVB0010404 | NVB0010404 | Nurse System | Sedco | Infusion Area |
| NVB0010405 | NVB0010405 | Nurse System | Sedco | Infusion Area |
| NVB0011153 | 688T09160279 | T688 | FRESENIUS | ROOM 2 |
| NVB0011154 | 688T09160280 | T688 Infusion Chair | Fresenius Health Care | Infusion Area |
| NVB0011156 | NVB0011156 | Nurse System | Sedco | Infusion Area |
| NVB0011160 | NVB0011160 | Nurse System | Sedco | Infusion Area |
| NVB0011161 | NVB0011161 | Nurse System | Sedco | Infusion Area |
| NVB0011162 | NVB0011162 | Nurse System | Sedco | Infusion Area |
| NVB0011163 | NVB0011163 | Nurse System | Sedco | Infusion Area |
| NVB0011164 | NVB0011164 | Nurse System | Sedco | Infusion Area |
| NVB0011165 | NVB0011165 | Nurse System | Sedco | Infusion Area |
| NVB0011166 | NVB0011166 | Nurse System | Sedco | Infusion Area |
| NVB0011167 | NVB0011167 | Nurse System | Sedco | Infusion Area |
| NVB0011168 | NVB0011168 | Nurse System | Sedco | Infusion Area |
| NVB0011169 | 2329382-0055 | Infusion Chair | Linak | Infusion Area |
| NVB0011173 | NVB0011173 | Nurse System | Sedco | Infusion Area |
| NVB0011174 | NVB0011174 | Nurse System | Sedco | Infusion Area |
| NVB0011175 | NVB0011175 | Nurse System | Sedco | Infusion Area |
| NVB0011178 | 688T09160278 | Infusion Chair | Fresenius | Infusion Area |
| NVB0011179 | 1401030001090015312111600015 | VACCINE FRIDGE | LABEC | RESEARCH |
| NVB0011179 | NVB0011179 | Vaccine Fridge | ISC Pacific | Office |
| NVB0011181 | 1005-8946-0912 | Ultra Low Freezer | New Brunswick Scientific | Tasman Healthcare |