

***Device Under Test***

|  |  |
| --- | --- |
| ***Client:*** <Client> | ***Type:*** <Type> |
| ***Asset Number:*** <AssetNumber> | ***Serial Number:*** <SerialNumber> |
| ***Location:*** <Location>  ***Manufacturer:*** <Manufacturer> | ***Model:*** <Model> |

***Test Equipment:***

|  |
| --- |
|  |

***Performance Test Summary***

|  |
| --- |
| **<result69>** |

***Signatures***

|  |  |
| --- | --- |
| Name: <Name> | Date: <Date> |

***Performance Test Results***

***Performance Verification:***

|  |  |
| --- | --- |
| Inspect/Adjust light head travel | **<result1>** |
| Inspect/Adjust tracking arm movement | **<result2>** |
| Inspect ceiling arm mount | **<result3>** |
| Check keypad function | **<result4>** |
| Check hand controls function (confirm light field adjustment) | **<result5>** |
| Confirm/check constant light field diameter without refocus up to 500m | **<result6>** |
| Illumination test at 1000mm distance | **<result7>** |
| Light field diameter 130mm | **<result8>** |
| 75,000 LUX | **<result9>** |

***Comments:***

<Comments>