

***Device Under Test***

|  |  |
| --- | --- |
| ***Client:*** <Client> | ***Type:*** <Type> |
| ***Asset Number:*** <AssetNumber> | ***Serial Number:*** <SerialNumber> |
| ***Location:*** <Location>  ***Manufacturer:*** <Manufacturer> | ***Model:*** <Model> |

***Test Equipment:***

|  |
| --- |
|  |

***Performance Test Summary***

|  |
| --- |
| **<PerformanceTest>** |

***Signatures***

|  |  |
| --- | --- |
| Name: <Name> | Date: <Date> |

***Performance Test Results***

***Visual Inspection:***

|  |  |
| --- | --- |
| Visual Damage. Check probe and cover ejector | **<result1>** |
| Is Unit Clean? Check IR detection window | **<result2>** |
| Confirm display is readable | **<result3>** |
| Check device for loose/rattling hardware | **<result4>** |
| Check automatic shutdown <60 sec | **<result5>** |
| Inspect batteries condition | **<result6>** |

***Performance Verification:***

|  |  |
| --- | --- |
| Confirm Temperature Reads 35.5 +- 4% Celsius | **<input1>** |
| Confirm Temperature Reads 41 +- 4% Celsius | **<input2>** |

***Comments:***

<Comments>