

***Device Under Test***

|  |  |
| --- | --- |
| ***Asset Number:*** 21 | ***Serial Number:*** 3 |
| ***Location:*** 3123 | ***Model:*** 12 |

***Performance Test Summary***

|  |
| --- |
| **Pass** |

***Signatures***



|  |  |
| --- | --- |
| Name: Rommel Lapuz | Date: 27/07/2017 |

***Performance Test Results***

***Performance Verification:***

|  |  |
| --- | --- |
| Medical Gas Type | **Air Gas Outlet** |
| Manufacturer | **1231** |
| Leak Test at Pipeline Pressure 400 KpA ± 10% | **Pass** |
| Visual Inspection | **Pass** |
| Pressure Drop Test with Cylinders Off | **Pass** |
| Seal Replacement | **Pass** |
| Overall Test Result | **Pass** |
| Parts and Comments: | |
| Test Equipment:   * No test equipment was used | |

|  |  |
| --- | --- |
| Medical Gas Type | **Nitrous Gas Outlet** |
| Manufacturer | **123123** |
| Leak Test at Pipeline Pressure 400 KpA ± 10% | **Pass** |
| Visual Inspection | **Pass** |
| Pressure Drop Test with Cylinders Off | **Pass** |
| Seal Replacement | **Pass** |
| Overall Test Result | **Pass** |
| Parts and Comments: | |
| Test Equipment:   * No test equipment was used | |