

***Device Under Test***

|  |  |
| --- | --- |
| ***Client:*** <Client> | ***Type:*** <Type> |
| ***Asset Number:*** <AssetNumber> | ***Serial Number:*** <SerialNumber> |
| ***Location:*** <Location>  ***Manufacturer:*** <Manufacturer> | ***Model:*** <Model> |

***Test Equipment:***

|  |
| --- |
|  |

***Performance Test Summary***

|  |
| --- |
| **<PerformanceTest>** |

***Signatures***

|  |  |
| --- | --- |
| Name: <Name> | Date: <Date> |

***Performance Test Results***

***Performance Verification:***

|  |  |
| --- | --- |
| Visual Inspection | **<result1>** |
| Functional Check | **<result2>** |
| Quantity Checked | **<result3>** |
| Ball Moving Freely, Not Sticking | **<result4>** |
| No Leaks, Occlude O2 Nipple, Flow Drops to Zero | **<result5>** |
| Accuracy ± 5% | **<result6>** |
| O2 Nipple intact, No Damage | **<result7>** |

***Comments:***

<Comments>