

***Device Under Test***

|  |  |
| --- | --- |
| ***Asset Number:*** <AssetNumber> | ***Serial Number:*** <SerialNumber> |
| ***Location:*** <Location>  ***Manufacturer:*** <Manufacturer> | ***Model:*** <Model> |

***Test Equipment:***

<Items>

***Signatures***

|  |  |
| --- | --- |
| Name: <Name> | Date: <Date> |

***Performance Test Results***

***Visual Check:***

|  |  |
| --- | --- |
| No damage to cuff or tubing | **<visualresult1>** |
| Velcro integrity | **<visualresult2>** |
| Check overpressure cut-off | **<visualresult3>** |

***Sphygmo Test:***

|  |  |
| --- | --- |
| Sphygmo with zero press. Reads 0mmhg | **<sphygresult1>** |
| Sphygmo with zero press. Reads 100mmhg | **<sphygresult2>** |
| Sphygmo with zero press. Reads 200mmhg | **<sphygresult3>** |

***Leak Test:***

|  |  |
| --- | --- |
| Leak Test no Significant Drop in Press @200mmhg | <leakresult1> |

***Comments:***

<Comments>