

***Device Under Test***

|  |  |
| --- | --- |
| ***Asset Number:*** <AssetNumber> | ***Serial Number:*** <SerialNumber> |
| ***Location:*** <Location>  ***Manufacturer:*** <Manufacturer> | ***Model:*** <Model> |

***Test Equipment:***

|  |
| --- |
|  |

***Performance Test Summary***

|  |
| --- |
| **<PerformanceTest>** |

***Signatures***

|  |  |
| --- | --- |
| Name: <Name> | Date: <Date> |

***Performance Test Results***

***Visual Check:***

|  |  |
| --- | --- |
| No damage to cuff or tubing | **<result1>** |
| Velcro integrity | **<result2>** |
| Check overpressure cut-off | **<result3>** |

***Sphygmo Test:***

|  |  |
| --- | --- |
| Sphygmo with zero press. Reads 0mmhg | **<result4>** |
| Sphygmo with zero press. Reads 100mmhg | **<result5>** |
| Sphygmo with zero press. Reads 200mmhg | **<result6>** |

***Leak Test:***

|  |  |
| --- | --- |
| Leak Test no Significant Drop in Press @200mmhg | <result7> |

***Simulation Test:***

|  |  |
| --- | --- |
| Simulation Normal BP 120/80 | <result8> |

***Comments:***

<Comments>