

***Device Under Test***

|  |  |
| --- | --- |
| ***Asset Number:*** <AssetNumber> | ***Serial Number:*** <SerialNumber> |
| ***Location:*** <Location>  ***Manufacturer:*** <Manufacturer> | ***Model:*** <Model> |

***Test Equipment:***

<Items>

***Signatures***

|  |  |
| --- | --- |
| Name: <Name> | Date: <Date> |

***Performance Test Results***

***Performance Verification:***

|  |  |
| --- | --- |
| Pre OP Check | **<result1>** |
| AED Function | **<result2>** |
| Output @ Set 1-10 joules ±10% | **<result3>** |
| Output @ Set 15 joules ±10% | **<result4>** |
| Output @ Set 20 joules ±10% | **<result5>** |
| Output @ Set 30 joules ±10% | **<result6>** |
| Output @ Set 50 joules ±10% | **<result7>** |
| Output @ Set 70 joules ±10% | **<result8>** |
| Output @ Set 100 joules ±10% | **<result9>** |
| Output @ Set 120 joules ±10% | **<result10>** |
| Output @ Set 150 joules ±10% | **<result11>** |
| Output @ Set 170 joules ±10% | **<result12>** |
| Output @ Set 200 joules ±10% | **<result13>** |
| Display Check | **<result14>** |
| Sync Time < 60mSec | **<result15>** |
| Post OP Check | **<result16>** |
| ECG from Pads and Leads | **<result17>** |
| Leads Off | **<result18>** |
| Temp Check Set simulator to 40◦C. Displayed value 40 +/- 0.2◦C | **<result19>** |
| Invasive P= 200mmHg. Displayed value 200 +/- 5 | **<result20>** |
| NIBP Simulator Test (Calibration in Date) | **<result21>** |
| SPO2 | **<result22>** |
| CO2 Calibrated and Checked at 5% | **<result23>** |

***Comments:***

<Comments>