

***Device Under Test***

|  |  |
| --- | --- |
| ***Client:*** <Client> | ***Type:*** <Type> |
| ***Asset Number:*** <AssetNumber> | ***Serial Number:*** <SerialNumber> |
| ***Location:*** <Location>  ***Manufacturer:*** <Manufacturer> | ***Model:*** <Model> |

***Test Equipment:***

|  |
| --- |
|  |

***Performance Test Summary***

|  |
| --- |
| **<result\_69>** |

***Signatures***

|  |  |
| --- | --- |
| Name: <Name> | Date: <Date> |

***Performance Test Results***

***Visual Inspection:***

|  |  |
| --- | --- |
| Check all exterior housings for cracks and damage | **<result1>** |
| Check the MSL connector for any damaged pins | **<result2>** |
| Check the condition of all external cables (if applicable) | **<result3>** |

***Boot Sequence:***

|  |  |
| --- | --- |
| Power ON and Error LED switch on immediately and are RED | <result4> |
| Alarms LEDs are switched on, Philips Logo displayed on the screen | **<result5>** |
| Measurement Information displayed on the screen within 30seconds | **<result6>** |

***Performance Assurance:***

|  |  |
| --- | --- |
| Enter DEMO Mode, connect a MMS module |  |
| All Parameters Display Value | **<result7>** |

***Comments:***

<Comments>