|  |  |
| --- | --- |
| ***Equipment Description:***  Automatic External Defibrillator | |
| ***Asset Number:*** <AssetNumber> | ***Model:*** <Model> |
| ***Make:*** <Make> | ***Serial Number:*** <SerialNumber> |

|  |  |
| --- | --- |
| Automatic Operation when Vfib Applied | **<result1>** |
| Output Energy = 150 Joules +/- 10% | **<result2>** |
| Overall Test Result | **<result3>** |

***Comments/Parts:***

<Comments>

***--------------------------------------------------------------------------------------------------------------------------***