|  |  |  |
| --- | --- | --- |
| ***Equipment Description****:*  Automatic External Defibrillator | | |
| ***Asset Number****:* <AssetNumber> | ***Serial Number:*** <SerialNumber> | |
| ***Make****:* <Make> | ***Model:*** <Model> | |
| Automatic Operation when Vfib Applied | | **<result1>** |
| Output Energy = 150 Joules +/- 10% (MIN: 145, MAX: 155) | | **<result2>** |
| Overall Test Result | | **<result3>** |
| *Comments:*  <Comments> | | |
| *Parts:* | | |