|  |  |
| --- | --- |
| ***Asset Number:*** <AssetNumber> | ***Serial Number:*** <SerialNumber> |
| ***Make:*** <Make> | ***Model:*** <Model> |

***Equipment Description:***  Regulator

|  |  |
| --- | --- |
| Pressure Test Static 400 KpA +/- 10% (MIN:390 MAX:410) | **<result1>** |
| Check Flow Control & Full Flow | **<result2>** |
| Leak Check | **<result3>** |
| Overall Test Result | **<result4>** |