|  |  |  |
| --- | --- | --- |
| ***Equipment Description****:*  Sphygmo Handheld | | |
| ***Asset Number****:* <AssetNumber> | ***Serial Number:*** <SerialNumber> | |
| ***Make****:* <Make> | ***Model:*** <Model> | |
| Check Needle in Calibration Zone @ Zero mmHg | | **<result1>** |
| Check Pressue @ 0mm Hg +/- 10% | | **<result2>** |
| Check Pressue @ 100mm Hg +/- 10% | | **<result3>** |
| Check Pressue @ 200mm Hg +/- 10% | | **<result4>** |
| Check No Leaks | | **<result5>** |
| Overall Test Result | | **<result6>** |
| *Comments:*  <Comments> | | |
| *Parts:* | | |