|  |  |
| --- | --- |
| ***Asset Number:*** <AssetNumber> | ***Serial Number:*** <SerialNumber> |
| ***Make:*** <Make> | ***Model:*** <Model> |

***Equipment Description:***  Sphygmo Wall

|  |  |
| --- | --- |
| Check Needle in Calibration Zone @ Zero mmHg | **<result1>** |
| Check Pressue @ 0mm Hg +/- 10% | **<result2>** |
| Check Pressue @ 100mm Hg +/- 10% | **<result3>** |
| Check Pressue @ 200mm Hg +/- 10% | **<result4>** |
| Check No Leaks | **<result5>** |
| Overall Test Result | **<result6>** |