

***Queensland Ambulance Service Report***

|  |  |
| --- | --- |
| ***Date:*** 12/04/2017 | ***Station:*** 12312 |
| ***Location/Room:*** 312  ***Registration Number:*** 123123 | ***Vehicle Number:*** 123123 |

***Test Summary***

|  |  |
| --- | --- |
| ***List of Serviced Equipment:***  Regulator: 1 | ***List of Parts Replaced:***  3x - bodok seal |

***Signatures***



|  |  |
| --- | --- |
| Name: Rommel Lapuz | Date: 12/04/2017 |

***Test Results***

|  |  |  |
| --- | --- | --- |
| ***Equipment Description****:*  Regulator | | |
| ***Asset Number****:* 123123 | ***Serial Number:*** | |
| ***Make****:* | ***Model:*** | |
| Pressure Test Static | | **123** |
| Check Flow Control & Full Flow | | **Pass** |
| Leak Check | | **Pass** |
| Overall Test Result | | **Pass** |
| *Comments:* | | |
| *Parts:*  bodok seal  bodok seal  bodok seal | | |