

***Device Under Test***

|  |  |
| --- | --- |
| ***Asset Number:*** sdf | ***Serial Number:*** sd |
| ***Location:*** sdf  ***Manufacturer:*** f | ***Model:*** fsd |

***Test Equipment:***

|  |
| --- |
| * YOKOGAWA LIGHT METER/LUX METER (SN 51001) |
| * FLUKE PROSIM 3 VITAL SIGN SIMULATOR (SN 3102018) |
| * FLUKE ESA620 ELECTRICAL SAFETY ANALYSER (SN 2629025) |

***Signatures***



|  |  |
| --- | --- |
| Name: Rommel Lapuz | Date: 12/06/2017 |

***Performance Test Results***

***Performance Verification:***

|  |  |
| --- | --- |
| Visual inspection | **Pass** |
| Functional check | **Pass** |
| Output 1+2 | **Pass** |
| Continuous/INT | **Pass** |
| Timing | **Pass** |

***Comments:***