

***Device Under Test***

|  |  |
| --- | --- |
| ***Asset Number:*** asdas | ***Serial Number:*** asd |
| ***Location:*** adasd  ***Manufacturer:*** dasdadasdad | ***Model:*** dasdasdasddada |

***Test Equipment:***

***Test Equipment:***

|  |  |
| --- | --- |
| ***Description:*** | ***Serial Number:*** |
| DALE3000 Electrosurgical Analyser | 0485 (NVB0003325) |
| Fluke Biomedical ESA620 | 3357047 |

***Signatures***



|  |  |
| --- | --- |
| Name: Rommel Lapuz | Date: 13/04/2017 |

***Performance Test Results***

***Visual Check:***

|  |  |
| --- | --- |
| Visual inspection | **Pass** |

***Performance Verification:***

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| ***Modality:*** | ***Set Power:*** | ***Set Load (OHMS):*** | ***Limits:*** | ***Measured Value:*** | ***Result:*** | |
| V3 | 260W | 150 | 215-321W | **Pass** | **Pass** | |
| V3 | 130W | 150 | 106-158W | **Pass** | **Pass** | |
| V3 | 260W | 1000 | 94-140W | **Pass** | **Pass** | |
| COAG | 120W | 150 | 68-101W | **Pass** | **Pass** | |
| COAG | 60W | 150 | 50-74W | **Pass** | **Pass** | |
| COAG | 120W | 1000 | 11.2-16.7W | **Pass** | **Pass** | |
| RF+ Leakage Current | | | <100mA | **Pass** | | **Pass** |
| RF- Leakage Current | | | <100mA | **Pass** | | **Pass** |

***Comments:***

fdsfsdf