

***Device Under Test***

|  |  |
| --- | --- |
| ***Asset Number:*** asdas123 | ***Serial Number:*** asd |
| ***Location:*** asd  ***Manufacturer:*** asd | ***Model:*** sadasdsa |

***Test Equipment:***

***Signatures***



|  |  |
| --- | --- |
| Name: Rommel Lapuz | Date: 21/03/2017 |

***Performance Test Results***

***Visual Check:***

|  |  |
| --- | --- |
| Examine for damage, wear and contamination | **Pass** |

***ECG Test:***

|  |  |
| --- | --- |
| ECG Sinus Rhythm, 60bpm. Check displayed ECG and HR Value 60+/-2bpm. | Pass |
| ECG Sinus Rhythm, 120bpm. Check displayed ECG and HR Value 120+/-2bpm. | **Pass** |
| ECG Sinus Rhythm, 180bpm. Check displayed ECG and HR Value 180+/-2bpm. | **Pass** |

***Comments:***

asdasda